Go to: OVERVIEW (SaveOurCounty)     DETAILS (listener)     PLANNING     SCHOOLS     ENVIRONMENT     EROSION     Report corrections & broken links to Webmaster     Get updates on local issues

|  | Division of Water and Waste Management 601 – 57th Street Charleston, WV 25304 Telephone Number: (304) 926-0495 Fax Number: (304) 926-0643 |
| --- | --- |
| West Virginia Department of Environmental Protection |
| Bob Wise Governor |  | Stephanie R. Timmermeyer Cabinet Secretary |

DRAFT

Jane Arnett

City Manager, City of Charles Town

## P.O. Box 359

## Charles Town, WV 25414

CERTIFIED RETURN RECEIPT REQUESTED

Re: WV/NPDES Permit No. WV0022349

Jefferson County – Modification No. 3

Dear Ms. Arnett:

This correspondence serves as Modification No. 3 of your existing WV/NPDES Water Pollution Control Permit No. WV0022349 issued the 24th day of July 2001.

After review and consideration of the information submitted, on and with, WV/NPDES Water Pollution Control Permit Application No. WV0022349-C, dated the 20th day of August 2004, and additional information received on the 2nd day of September 2004, and other relevant information, the subject Permit is hereby modified as follows:

To modify an existing 1.2 mgd sequencing batch reactor system to a 1.75 mgd sequencing batch reactor system.  This will include the addition of two (2) 2,430 SCFM blowers, a new 568,000 gallon aerobic digester with two (2) 2,300 SCFM blowers, conversion of existing aerobic digesters to sludge holding tanks, and all necessary valves, piping, controls, and other appurtenances.

Section A.001, attached, indicates the revised monitoring requirements for this facility.  Enclosed, please find pages 5 and 6 of 20 for WV/NPDES Permit Number WV0022349.  A revised DMR is also enclosed for your use.

Sections C.11, C.13, and C.14, have been changed and Section C.23 has been added to reflect the operational requirements of the modified plant.  Revised pages 11, 12, 13, 14, and 15 of 20, are attached and will be effective upon completion of the modification.

Jane Arnett

Page 2 of 2

Plans, Specifications, and Reports:

Date Approvable:	June 4, 2004

## Prepared by:		View Engineering

400 Professional Drive, Suite 380

Gaithersburg, MD 20879

Title:	City of Charles Town

Wastewater Treatment Plant

The proposed sewage treatment facility expansion will be constructed in accordance with Health Department Approval Permit No. 16,195 issued on the 20th of August 2004.

All other terms and conditions of WV/NPDES Water Pollution Control Permit No. WV0022349 shall remain in effect and unchanged.  Should you have any questions, please contact Bill Sentman of this office at 304-926-0495.

Sincerely,

Allyn G. Turner

Director

AGT/wjs

cc: Env. Inspector Supervisor

Env. Inspector, Jefferson County